## Setup
Date | 2021-01-25
Operator | Allison
Reagents | Lot # | Expiration | Open
Pan-Lassa Pf-GP Antibody ELISA Plate | MP13-191113 | 2020-11-22 | 2021-01-21
Pan-Lassa NP Antibody ELISA Plate | MP05-24 | 2020-11-25 | 2021-01-21
Sample Diluent | SD2-191209 | 2020-12-11 | 2021-01-10
Undyed ELISA Conjugate Diluent | 5037-201204 | n/a | 2021-01-10
TMB Substrate | TMBUS-025 | 2022-03-21 | 2021-01-10
Stop Solution | KM-191209 | 2021-12-09 | 2021-01-10
PBS (Gibco 100-10-023) |  | n/a
Mouse Controls
GP Calibrator (diluted 1:25 in PBS) | ProSci Injections | 2021-01-11 | 1:1 each animal (5)
NP Calibrator (diluted 1:35 in PBS ((2uL 1:10 + 5uL PBS)) | ProSci Injections | 2021-01-11 | 1:1 each animal (5)
2* Antibody | Catalog # | Lot # | Conc | Dilution in Undyed Conjugate
Goat anti-Mouse IgG(y), HRP | SeraCare 5220-0339 | 139400 |  | 1:2500
Protocol
In deep well plate, prepare assay.
Add Calibrator 1:100 in sample diluent ("straight" calibrators directly into SD, no pre-dilution of serum)
Dilute Calibrator 1:3 down plate (Column A-H)
Blank of sample diluent (Column H)
1:100 of Samples (known negatives) in sample diluent
**Move 100uL prepared samples to plate.
** Incubate 30min RT
** Wash 4x300uL PBS-T
** Add 100uL 2* Antibody solution
** Incubate 30min RT
** Wash 4x300uL PBS-T
**100uL TMB Substrate 10min RT in dark
**100uL Stop solution, read at 450nm within 5 minutes.
Mouse IgG 1:2500
Plate 1 NP | 1:35 NP Calibrator | 1:35 NP Calibrator | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1:3500 | 1:3500 | C1 | C1 | C9 | C9 | C17 | C17 | C25 | C25 | C33 | C33
B | 1:10500 | 1:10500 | C2 | C2 | C10 | C10 | C18 | C18 | C26 | C26 | C34 | C34
C | 1:31500 | 1:31500 | C3 | C3 | C11 | C11 | C19 | C19 | C27 | C27 | C35 | C35
D | 1:94500 | 1:94500 | C4 | C4 | C12 | C12 | C20 | C20 | C28 | C28 | C36 | C36
E | 1:283500 | 1:283500 | C5 | C5 | C13 | C13 | C21 | C21 | C29 | C29 | C37 | C37
F | 1:850500 | 1:850500 | C6 | C6 | C14 | C14 | C22 | C22 | C30 | C30 | C38 | C38
G | 1:2551500 | 1:2551500 | C7 | C7 | C15 | C15 | C23 | C23 | C31 | C31 | C39 | C39
H | Blank | Blank | C8 | C8 | C16 | C16 | C24 | C24 | C32 | C32 | C40 | C40
Mouse IgG 1:2500
Plate 2 Pf-GP | 1:25 GP Calibrator | 1:25 GP Calibrator | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1:2500 | 1:2500 | C1 | C1 | C9 | C9 | C17 | C17 | C25 | C25 | C33 | C33
B | 1:7500 | 1:7500 | C2 | C2 | C10 | C10 | C18 | C18 | C26 | C26 | C34 | C34
C | 1:22500 | 1:22500 | C3 | C3 | C11 | C11 | C19 | C19 | C27 | C27 | C35 | C35
D | 1:67500 | 1:67500 | C4 | C4 | C12 | C12 | C20 | C20 | C28 | C28 | C36 | C36
E | 1:202500 | 1:202500 | C5 | C5 | C13 | C13 | C21 | C21 | C29 | C29 | C37 | C37
F | 1:607500 | 1:607500 | C6 | C6 | C14 | C14 | C22 | C22 | C30 | C30 | C38 | C38
G | 1:822500 | 1:822500 | C7 | C7 | C15 | C15 | C23 | C23 | C31 | C31 | C39 | C39
H | Blank | Blank | C8 | C8 | C16 | C16 | C24 | C24 | C32 | C32 | C40 | C40

## NP
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2.501 | 2.448 | 0.136 | 0.104 | 0.082 | 0.086 | 0.055 | 0.053 | 0.056 | 0.054 | 0.052 | 0.055 | 450
B | 1.033 | 0.994 | 0.055 | 0.058 | 0.055 | 0.051 | 0.065 | 0.072 | 0.062 | 0.061 | 0.053 | 0.057 | 450
C | 0.398 | 0.398 | 0.052 | 0.056 | 0.052 | 0.053 | 0.06 | 0.057 | 0.061 | 0.058 | 0.052 | 0.053 | 450
D | 0.189 | 0.168 | 0.055 | 0.057 | 0.053 | 0.05 | 0.056 | 0.05 | 0.053 | 0.052 | 0.051 | 0.053 | 450
E | 0.103 | 0.094 | 0.055 | 0.059 | 0.061 | 0.063 | 0.056 | 0.054 | 0.057 | 0.055 | 0.053 | 0.053 | 450
F | 0.076 | 0.069 | 0.055 | 0.058 | 0.059 | 0.059 | 0.057 | 0.053 | 0.052 | 0.063 | 0.059 | 0.058 | 450
G | 0.066 | 0.066 | 0.073 | 0.057 | 0.056 | 0.053 | 0.074 | 0.084 | 0.053 | 0.064 | 0.065 | 0.064 | 450
H | 0.081 | 0.057 | 0.062 | 0.065 | 0.062 | 0.063 | 0.096 | 0.063 | 0.067 | 0.064 | 0.066 | 0.056 | 450
Mouse IgG 1:2500
Plate 1 NP | 1:35 NP Calibrator | 1:35 NP Calibrator | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1:3500 | 1:3500 | C1 | C1 | C9 | C9 | C17 | C17 | C25 | C25 | C33 | C33
B | 1:10500 | 1:10500 | C2 | C2 | C10 | C10 | C18 | C18 | C26 | C26 | C34 | C34
C | 1:31500 | 1:31500 | C3 | C3 | C11 | C11 | C19 | C19 | C27 | C27 | C35 | C35
D | 1:94500 | 1:94500 | C4 | C4 | C12 | C12 | C20 | C20 | C28 | C28 | C36 | C36
E | 1:283500 | 1:283500 | C5 | C5 | C13 | C13 | C21 | C21 | C29 | C29 | C37 | C37
F | 1:850500 | 1:850500 | C6 | C6 | C14 | C14 | C22 | C22 | C30 | C30 | C38 | C38 |  |  | Calculated in Prism from OD
G | 1:2551500 | 1:2551500 | C7 | C7 | C15 | C15 | C23 | C23 | C31 | C31 | C39 | C39 |  | Sample | Log Ab Conc (U/mL) | Ab Conc (U/mL) | Calibrator Ab Conc (U/mL)
H | Blank | Blank | C8 | C8 | C16 | C16 | C24 | C24 | C32 | C32 | C40 | C40 |  | C1 | 0.27579 | 1.8871 | 1000 | 3
[14 empty] | C2 | 0 | 0 | 333.3333 | 2.5229
| 2.4745 |  | 3: 0.12; 5: 0.084; 7: 0.054; 9: 0.055; 11: 0.0535 |  | C3 | 0 | 0 | 111.1111 | 2.0458
| 1.0135 |  | 3: 0.0565; 5: 0.053; 7: 0.0685; 9: 0.0615; 11: 0.055 |  | C4 | 0 | 0 | 37.037 | 1.5686
| 0.398 |  | 3: 0.054; 5: 0.0525; 7: 0.0585; 9: 0.0595; 11: 0.0525 |  | C5 | 0 | 0 | 12.3457 | 1.0915
| 0.1785 |  | 3: 0.056; 5: 0.0515; 7: 0.053; 9: 0.0525; 11: 0.052 |  | C6 | 0 | 0 | 4.1152 | 0.61439
| 0.0985 |  | 3: 0.057; 5: 0.062; 7: 0.055; 9: 0.056; 11: 0.053 |  | C7 | -0.87508 | 0.13333 | 1.3717 | 0.13727
| 0.0725 |  | 3: 0.0565; 5: 0.059; 7: 0.055; 9: 0.0575; 11: 0.0585 |  | C8 | -1.0661 | 0.085882
| 0.066 |  | 3: 0.065; 5: 0.0545; 7: 0.079; 9: 0.0585; 11: 0.0645 |  | C9 | -0.13284 | 0.73648
| 0.069 |  | 3: 0.0635; 5: 0.0625; 7: 0.0795; 9: 0.0655; 11: 0.061 |  | C10 | 0 | 0
[14 empty] | C11 | 0 | 0
| 2x od |  | 4: original |  | C12 | 0 | 0
| 0.272 | 0.208 | 4: 0.136; 5: 0.104 |  | C13 | -1.4147 | 0.038485
| 0.11 | 0.116 | 4: 0.055; 5: 0.058 |  | C14 | 0 | 0
| 0.104 | 0.112 | 4: 0.052; 5: 0.056 |  | C15 | 0 | 0
| 0.11 | 0.114 | 4: 0.055; 5: 0.057 |  | C16 | -1.2654 | 0.054277
| 0.11 | 0.118 | 4: 0.055; 5: 0.059 |  | C17 | 0 | 0
| 0.11 | 0.116 | 4: 0.055; 5: 0.058 |  | C18 | -0.61232 | 0.24416
| 0.146 | 0.114 | 4: 0.073; 5: 0.057 |  | C19 | 0 | 0
| 0.124 | 0.13 | 4: 0.062; 5: 0.065 |  | C20 | 0 | 0
| 0.164 | 0.172 | 4: 0.082; 5: 0.086 |  | C21 | 0 | 0
| 0.11 | 0.102 | 4: 0.055; 5: 0.051 |  | C22 | 0 | 0
| 0.104 | 0.106 | 4: 0.052; 5: 0.053 |  | C23 | -0.23849 | 0.57744
| 0.106 | 0.1 | 4: 0.053; 5: 0.05 |  | C24 | -0.2267 | 0.59334
| 0.122 | 0.126 | 4: 0.061; 5: 0.063 |  | C25 | 0 | 0
| 0.118 | 0.118 | 4: 0.059; 5: 0.059 |  | C26 | -1.6439 | 0.022703
| 0.112 | 0.106 | 4: 0.056; 5: 0.053 |  | C27 | 0 | 0
| 0.124 | 0.126 | 4: 0.062; 5: 0.063 |  | C28 | 0 | 0
| 0.11 | 0.106 | 4: 0.055; 5: 0.053 |  | C29 | 0 | 0
| 0.13 | 0.144 | 4: 0.065; 5: 0.072 |  | C30 | 0 | 0
| 0.12 | 0.114 | 4: 0.06; 5: 0.057 |  | C31 | 0 | 0
| 0.112 | 0.1 | 4: 0.056; 5: 0.05 |  | C32 | -0.82637 | 0.14915
| 0.112 | 0.108 | 4: 0.056; 5: 0.054 |  | C33 | 0 | 0
| 0.114 | 0.106 | 4: 0.057; 5: 0.053 |  | C34 | 0 | 0
| 0.148 | 0.168 | 4: 0.074; 5: 0.084 |  | C35 | 0 | 0
| 0.192 | 0.126 | 4: 0.096; 5: 0.063 |  | C36 | 0 | 0
| 0.112 | 0.108 | 4: 0.056; 5: 0.054 |  | C37 | 0 | 0
| 0.124 | 0.122 | 4: 0.062; 5: 0.061 |  | C38 | 0 | 0
| 0.122 | 0.116 | 4: 0.061; 5: 0.058 |  | C39 | -0.92993 | 0.11751
| 0.106 | 0.104 | 4: 0.053; 5: 0.052 |  | C40 | -2.1587 | 0.0069383
| 0.114 | 0.11 | 4: 0.057; 5: 0.055 |  | Red = Excluded from ROC curve
| 0.104 | 0.126 | 4: 0.052; 5: 0.063
| 0.106 | 0.128 | 4: 0.053; 5: 0.064
| 0.134 | 0.128 | 4: 0.067; 5: 0.064
| 0.104 | 0.11 | 4: 0.052; 5: 0.055
| 0.106 | 0.114 | 4: 0.053; 5: 0.057
| 0.104 | 0.106 | 4: 0.052; 5: 0.053
| 0.102 | 0.106 | 4: 0.051; 5: 0.053
| 0.106 | 0.106 | 4: 0.053; 5: 0.053
| 0.118 | 0.116 | 4: 0.059; 5: 0.058
| 0.13 | 0.128 | 4: 0.065; 5: 0.064
| 0.132 | 0.112 | 4: 0.066; 5: 0.056

## GP
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3.495 | 3.185 | 0.065 | 0.073 | 0.067 | 0.067 | 0.065 | 0.064 | 0.063 | 0.066 | 0.066 | 0.068 | 450
B | 1.45 | 1.406 | 0.062 | 0.067 | 0.062 | 0.061 | 0.067 | 0.06 | 0.063 | 0.062 | 0.066 | 0.067 | 450
C | 0.576 | 0.59 | 0.059 | 0.06 | 0.06 | 0.059 | 0.059 | 0.06 | 0.059 | 0.06 | 0.063 | 0.061 | 450
D | 0.245 | 0.234 | 0.058 | 0.06 | 0.068 | 0.073 | 0.06 | 0.059 | 0.058 | 0.058 | 0.061 | 0.065 | 450
E | 0.125 | 0.123 | 0.061 | 0.066 | 0.065 | 0.064 | 0.059 | 0.059 | 0.061 | 0.062 | 0.063 | 0.065 | 450
F | 0.09 | 0.083 | 0.063 | 0.063 | 0.064 | 0.062 | 0.061 | 0.061 | 0.059 | 0.062 | 0.067 | 0.06 | 450
G | 0.076 | 0.071 | 0.062 | 0.062 | 0.074 | 0.066 | 0.062 | 0.063 | 0.061 | 0.063 | 0.063 | 0.064 | 450
H | 0.076 | 0.068 | 0.073 | 0.076 | 0.07 | 0.071 | 0.07 | 0.068 | 0.068 | 0.067 | 0.068 | 0.072 | 450
Mouse IgG 1:2500
Plate 2 Pf-GP | 1:25 GP Calibrator | 1:25 GP Calibrator | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1:2500 | 1:2500 | C1 | C1 | C9 | C9 | C17 | C17 | C25 | C25 | C33 | C33
B | 1:7500 | 1:7500 | C2 | C2 | C10 | C10 | C18 | C18 | C26 | C26 | C34 | C34
C | 1:22500 | 1:22500 | C3 | C3 | C11 | C11 | C19 | C19 | C27 | C27 | C35 | C35
D | 1:67500 | 1:67500 | C4 | C4 | C12 | C12 | C20 | C20 | C28 | C28 | C36 | C36
E | 1:202500 | 1:202500 | C5 | C5 | C13 | C13 | C21 | C21 | C29 | C29 | C37 | C37
F | 1:607500 | 1:607500 | C6 | C6 | C14 | C14 | C22 | C22 | C30 | C30 | C38 | C38 |  |  | Calculated in Prism from OD
G | 1:822500 | 1:822500 | C7 | C7 | C15 | C15 | C23 | C23 | C31 | C31 | C39 | C39 |  | Sample | Log Ab Conc (U/mL) | Ab Conc (U/mL) | Calibrator Ab Conc (U/mL)
H | Blank | Blank | C8 | C8 | C16 | C16 | C24 | C24 | C32 | C32 | C40 | C40 |  | C1 | -0.92302 | 0.11939 | 100
[14 empty] | C2 | -1.3828 | 0.041424 | 33.3333
Averages | 3.34 |  | 3: 0.069; 5: 0.067; 7: 0.0645; 9: 0.0645; 11: 0.067 |  | C3 |  | 0 | 11.1111
| 1.428 |  | 3: 0.0645; 5: 0.0615; 7: 0.0635; 9: 0.0625; 11: 0.0665 |  | C4 |  | 0 | 3.7037
| 0.583 |  | 3: 0.0595; 5: 0.0595; 7: 0.0595; 9: 0.0595; 11: 0.062 |  | C5 | -1.606 | 0.024774 | 1.2346
| 0.2395 |  | 3: 0.059; 5: 0.0705; 7: 0.0595; 9: 0.058; 11: 0.063 |  | C6 | -1.7792 | 0.016627 | 0.41152
| 0.124 |  | 3: 0.0635; 5: 0.0645; 7: 0.059; 9: 0.0615; 11: 0.064 |  | C7 |  | 0 | 0.13717
| 0.0865 |  | 3: 0.063; 5: 0.063; 7: 0.061; 9: 0.0605; 11: 0.0635 |  | C8 | -0.66111 | 0.21822
| 0.0735 |  | 3: 0.062; 5: 0.07; 7: 0.0625; 9: 0.062; 11: 0.0635 |  | C9 | -1.0742 | 0.084291
| 0.072 |  | 3: 0.0745; 5: 0.0705; 7: 0.069; 9: 0.0675; 11: 0.07 |  | C10 |  | 0
[14 empty] | C11 |  | 0
[14 empty] | C12 | -0.83548 | 0.14606
| original |  | 4: 2x od |  | C13 | -1.3828 | 0.041424
| 0.065 | 0.073 | 4: 0.13; 5: 0.146 |  | C14 | -1.7792 | 0.016627
| 0.062 | 0.067 | 4: 0.124; 5: 0.134 |  | C15 | -0.86283 | 0.13714
| 0.059 | 0.06 | 4: 0.118; 5: 0.12 |  | C16 | -0.83548 | 0.14606
| 0.058 | 0.06 | 4: 0.116; 5: 0.12 |  | C17 | -1.3828 | 0.041424
| 0.061 | 0.066 | 4: 0.122; 5: 0.132 |  | C18 | -1.606 | 0.024774
| 0.063 | 0.063 | 4: 0.126; 5: 0.126 |  | C19 |  | 0
| 0.062 | 0.062 | 4: 0.124; 5: 0.124 |  | C20 |  | 0
| 0.073 | 0.076 | 4: 0.146; 5: 0.152 |  | C21 |  | 0
| 0.067 | 0.067 | 4: 0.134; 5: 0.134 |  | C22 |  | 0
| 0.062 | 0.061 | 4: 0.124; 5: 0.122 |  | C23 | -2.0621 | 0.0086672
| 0.06 | 0.059 | 4: 0.12; 5: 0.118 |  | C24 | -0.92302 | 0.11939
| 0.068 | 0.073 | 4: 0.136; 5: 0.146 |  | C25 | -1.3828 | 0.041424
| 0.065 | 0.064 | 4: 0.13; 5: 0.128 |  | C26 | -2.0621 | 0.0086672
| 0.064 | 0.062 | 4: 0.128; 5: 0.124 |  | C27 |  | 0
| 0.074 | 0.066 | 4: 0.148; 5: 0.132 |  | C28 |  | 0
| 0.07 | 0.071 | 4: 0.14; 5: 0.142 |  | C29 |  | 0
| 0.065 | 0.064 | 4: 0.13; 5: 0.128 |  | C30 |  | 0
| 0.067 | 0.06 | 4: 0.134; 5: 0.12 |  | C31 |  | 0
| 0.059 | 0.06 | 4: 0.118; 5: 0.12 |  | C32 | -1.0315 | 0.093012
| 0.06 | 0.059 | 4: 0.12; 5: 0.118 |  | C33 | -1.0742 | 0.084291
| 0.059 | 0.059 | 4: 0.118; 5: 0.118 |  | C34 | -1.1214 | 0.075612
| 0.061 | 0.061 | 4: 0.122; 5: 0.122 |  | C35 |  | 0
| 0.062 | 0.063 | 4: 0.124; 5: 0.126 |  | C36 | -1.7792 | 0.016627
| 0.07 | 0.068 | 4: 0.14; 5: 0.136 |  | C37 | -1.4808 | 0.033049
| 0.063 | 0.066 | 4: 0.126; 5: 0.132 |  | C38 | -1.606 | 0.024774
| 0.063 | 0.062 | 4: 0.126; 5: 0.124 |  | C39 | -1.606 | 0.024774
| 0.059 | 0.06 | 4: 0.118; 5: 0.12 |  | C40 | -0.86283 | 0.13714
| 0.058 | 0.058 | 4: 0.116; 5: 0.116 |  | Red = Excluded from ROC curve
| 0.061 | 0.062 | 4: 0.122; 5: 0.124
| 0.059 | 0.062 | 4: 0.118; 5: 0.124
| 0.061 | 0.063 | 4: 0.122; 5: 0.126
| 0.068 | 0.067 | 4: 0.136; 5: 0.134
| 0.066 | 0.068 | 4: 0.132; 5: 0.136
| 0.066 | 0.067 | 4: 0.132; 5: 0.134 |  |  | -1.7792
| 0.063 | 0.061 | 4: 0.126; 5: 0.122
| 0.061 | 0.065 | 4: 0.122; 5: 0.13 |  |  | -0.86283
| 0.063 | 0.065 | 4: 0.126; 5: 0.13 |  |  | -0.99238
| 0.067 | 0.06 | 4: 0.134; 5: 0.12
| 0.063 | 0.064 | 4: 0.126; 5: 0.128 |  |  | -1.7792
| 0.068 | 0.072 | 4: 0.136; 5: 0.144 |  |  | -1.1741
-1.7792
-1.7792
-0.99238
-1.0742
-1.1741
-0.99238
-1.1741
-1.0742
-1.7792
-1.3021
-1.7792
-1.3021
-1.0742
-1.7792
-1.4808
-0.99238
-0.76207

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only