## Setup
Date | 2021-01-26
Operator | Allison
Reagents | Lot # | Expiration | Open
Pan-Lassa Pf-GP Antibody ELISA Plate | MP13-191113 | 2020-11-22 | 2021-01-21
Pan-Lassa NP Antibody ELISA Plate | MP05-24 | 2020-11-25 | 2021-01-21
Sample Diluent | SD2-191209 | 2020-12-11 | 2021-01-18
Undyed ELISA Conjugate Diluent (for IgG) | 5037-201204 | n/a | 2021-01-10
Undyed ELISA Conjugate Diluent (for IgM) | 5037-200325 | n/a | 2021-01-26
TMB Substrate | TMBUS-025 | 2022-03-21 | 2021-01-25
Stop Solution | KM-191209 | 2021-12-09 | 2021-01-25
Rat Controls | Catalog # | Lot # | Value
GP Negative Control | Thermo Injections | 2021-01-12 | 1:1 each animal (2)
NP Negative Control | Thermo Injections | 2021-01-12 | 1:1 each animal (2)
GP Calibrator | Thermo Injections | 2021-01-12 | 1:1 each animal (2)
NP Calibrator | Thermo Injections | 2021-01-12 | 1:1 each animal (2)
2* Antibody | Catalog # | Lot # | Conc | Dilution in Undyed Conjugate
Donkey anti-Rat IgG (H+L) HRP | ThermoFisher A18745 | 68-50-020519 |  | 1:500
Protocol
In deep well plate, prepare assay.
Add Calibrator 1:100 in sample diluent ("straight" calibrators directly into SD, no pre-dilution of serum)
Dilute Calibrator 1:3 down plate (Column A-G)
Blank of sample diluent (Column H)
1:100 of Samples (known negatives) in sample diluent
**Move 100uL prepared samples to plate.
** Incubate 30min RT
** Wash 4x300uL PBS-T
** Add 100uL 2* Antibody solution
** Incubate 30min RT
** Wash 4x300uL PBS-T
**100uL TMB Substrate 10min RT in dark
**100uL Stop solution, read at 450nm within 5 minutes.
Rat IgG 1:500
Plate | GP Calibrator | GP Calibrator | GP | GP | GP | GP | NP Calibrator | NP Calibrator | NP | NP | NP | NP
A | 1:100 | 1:100 | RF1 | RF1 | RM1 | RM1 | 1:100 | 1:100 | RF1 | RF1 | RM1 | RM1
B | 1:300 | 1:300 | RF2 | RF2 | RM2 | RM2 | 1:300 | 1:300 | RF2 | RF2 | RM2 | RM2
C | 1:900 | 1:900 | RF3 | RF3 | RM3 | RM3 | 1:900 | 1:900 | RF3 | RF3 | RM3 | RM3
D | 1:2700 | 1:2700 | RF4 | RF4 | RM4 | RM4 | 1:2700 | 1:2700 | RF4 | RF4 | RM4 | RM4
E | 1:8100 | 1:8100 | RF5 | RF5 | RM5 | RM5 | 1:8100 | 1:8100 | RF5 | RF5 | RM5 | RM5
F | 1:24300 | 1:24300 | RF6 | RF6 | RM6 | RM6 | 1:24300 | 1:24300 | RF6 | RF6 | RM6 | RM6
G | 1:72900 | 1:72900 | RF7 | RF7 | RM7 | RM7 | GP Neg | GP Neg | RF7 | RF7 | RM7 | RM7
H | Blank | Blank | RF8 | RF8 | RM8 | RM8 | Blank | Blank | RF8 | RF8 | RM8 | RM8

## IgG
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | GP |  |  |  | NP
A | 3.045 | 2.905 | 0.053 | 0.053 | 0.067 | 0.071 | 3.173 | 3.194 | 0.05 | 0.052 | 0.051 | 0.053 | 450 | 2.975 |  | 0.053 | 0.069 | 3.1835 |  | 0.051 | 0.052
B | 2.256 | 2.111 | 0.059 | 0.063 | 0.057 | 0.055 | 2.52 | 2.634 | 0.051 | 0.051 | 0.051 | 0.05 | 450 | 2.1835 |  | 0.061 | 0.056 | 2.577 |  | 0.051 | 0.0505
C | 1.4 | 1.369 | 0.049 | 0.049 | 0.052 | 0.05 | 2.019 | 2.054 | 0.052 | 0.053 | 0.058 | 0.056 | 450 | 1.3845 |  | 0.049 | 0.051 | 2.0365 |  | 0.0525 | 0.057
D | 0.607 | 0.629 | 0.054 | 0.065 | 0.049 | 0.049 | 1.12 | 1.211 | 0.051 | 0.053 | 0.05 | 0.054 | 450 | 0.618 |  | 0.0595 | 0.049 | 1.1655 |  | 0.052 | 0.052
E | 0.314 | 0.294 | 0.056 | 0.051 | 0.052 | 0.052 | 0.574 | 0.575 | 0.05 | 0.052 | 0.05 | 0.049 | 450 | 0.304 |  | 0.0535 | 0.052 | 0.5745 |  | 0.051 | 0.0495
F | 0.187 | 0.144 | 0.07 | 0.074 | 0.053 | 0.049 | 0.289 | 0.288 | 0.052 | 0.056 | 0.058 | 0.05 | 450 | 0.1655 |  | 0.072 | 0.051 | 0.2885 |  | 0.054 | 0.054
G | 0.084 | 0.084 | 0.091 | 0.099 | 0.063 | 0.063 | 0.141 | 0.14 | 0.056 | 0.054 | 0.079 | 0.081 | 450 | 0.084 |  | 0.095 | 0.063 | 0.1405 |  | 0.055 | 0.08
H | 0.048 | 0.049 | 0.054 | 0.057 | 0.059 | 0.059 | 0.049 | 0.049 | 0.062 | 0.053 | 0.054 | 0.055 | 450 | 0.0485 |  | 0.0555 | 0.059 | 0.049 |  | 0.0575 | 0.0545
Rat IgG 1:500
Plate | GP Calibrator | GP Calibrator | GP | GP | GP | GP | NP Calibrator | NP Calibrator | NP | NP | NP | NP
A | 1:100 | 1:100 | RF1 | RF1 | RM1 | RM1 | 1:100 | 1:100 | RF1 | RF1 | RM1 | RM1 |  | GP | Calculated in Prism from OD |  |  | NP | Calculated in Prism from OD
B | 1:300 | 1:300 | RF2 | RF2 | RM2 | RM2 | 1:300 | 1:300 | RF2 | RF2 | RM2 | RM2 |  | Sample | Log Ab Conc (U/mL) | Ab Conc (U/mL) | Calibrator Ab Conc (U/mL) | Sample | Log Ab Conc (U/mL) | Ab Conc (U/mL) | Calibrator Ab Conc (U/mL)
C | 1:900 | 1:900 | RF3 | RF3 | RM3 | RM3 | 1:900 | 1:900 | RF3 | RF3 | RM3 | RM3 |  | RF1 | -2.1288 | 0.0074334 | 100 | RF1 | -1.4555 | 0.035033 | 100
D | 1:2700 | 1:2700 | RF4 | RF4 | RM4 | RM4 | 1:2700 | 1:2700 | RF4 | RF4 | RM4 | RM4 |  | RF2 | -1.4684 | 0.034012 | 33.3333 | RF2 | -1.4555 | 0.035033 | 33.3333
E | 1:8100 | 1:8100 | RF5 | RF5 | RM5 | RM5 | 1:8100 | 1:8100 | RF5 | RF5 | RM5 | RM5 |  | RF3 | 0 | 0 | 11.1111 | RF3 | -1.4353 | 0.036705 | 11.1111
F | 1:24300 | 1:24300 | RF6 | RF6 | RM6 | RM6 | 1:24300 | 1:24300 | RF6 | RF6 | RM6 | RM6 |  | RF4 | -1.5412 | 0.028763 | 3.7037 | RF4 | -1.4419 | 0.036146 | 3.7037
G | 1:72900 | 1:72900 | RF7 | RF7 | RM7 | RM7 | 1:72900 | 1:72900 | RF7 | RF7 | RM7 | RM7 |  | RF5 | -2.0478 | 0.0089574 | 1.2346 | RF5 | -1.4555 | 0.035033 | 1.2346
H | Blank | Blank | RF8 | RF8 | RM8 | RM8 | Blank | Blank | RF8 | RF8 | RM8 | RM8 |  | RF6 | -1.1266 | 0.074717 | 0.41152 | RF6 | -1.4157 | 0.038393 | 0.41152
[14 empty] | RF7 | -0.77523 | 0.16779 | 0.13717 | RF7 | -1.4031 | 0.039527 | 0.13717
[14 empty] | RF8 | -1.8155 | 0.015294 |  | RF8 | -1.3727 | 0.042392
[14 empty] | RM1 | -1.1986 | 0.063294 |  | RM1 | -1.4419 | 0.036146
[14 empty] | RM2 | -1.7714 | 0.016927 |  | RM2 | -1.4624 | 0.03448
[14 empty] | RM3 | 0 | 0 |  | RM3 | -1.3787 | 0.041816
[14 empty] | RM4 | 0 | 0 |  | RM4 | -1.4419 | 0.036146
[14 empty] | RM5 | 0 | 0 |  | RM5 | -1.4765 | 0.033378
[14 empty] | RM6 | 0 | 0 |  | RM6 | -1.4157 | 0.038393
[14 empty] | RM7 | -1.3857 | 0.041145 |  | RM7 | -1.1556 | 0.069895
[14 empty] | RM8 | -1.5681 | 0.027034 |  | RM8 | -1.4094 | 0.038959
[14 empty] | Red = Excluded from ROC curve |  |  |  | Red = Excluded from ROC curve

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only